## Slide 1
B
B
B
B
B
B
B
B
ORCA
Substation
G3
G4
Power Creek
Substation
H1
480V
12.47kV
S
S
S
EYAK Substation
Main Town
Express
Lake Ave
13 Mile
12.47kV
B
B
G5
G6
B
B
G7
G8
S
New Town
B
Aux Cannery
1500 kVA
S
S
S
4.16kV
25kV
7500kVA
7500kVA
12.47kV
480V
4.16 kV
1500 kVA
2500 kVA
Humpback
Creek Substation
S1
S2
T2
T1
190
191
593
255
013
078
060
146
354
370
389
077
644
S2
S1
T2
T1
195
S2
S1
T2
T1
193
247
180
232
458
S2
S1
T2
T1
174
038
266
271
279
S1
S2
T2
T1
189
A05
A06
A02
A03
A04
A01
A13
A14
A07
A08
A09
A10
A11
A12
M11
M10
M06
M07
M08
M09
M02
M03
M04
M05
M01
L05
L06
L07
L08
L09
L10
L11
L12
L13
L14
L15
L16
L17
L18
N01
N02
N03
N04
N05
N06
N07
N08
N09
N10
N11
N12
N13
N14
N17
N18
N19
N20
N21
N15
N16
N22
N23
N24
N25
N26
T01
T02
T03
T04
T05
T06
T09
T10
T07
T08
T11
T12
T13
T14
T15
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
Cordova One-Line Diagram (based on Rev 4/2018)
L01
L02
L03
L04
111
L12
L1-L10
Switch Number (OS111)
Normally Closed Switch (filled circle)
Normally Open Switch (open circle)
Feeder Line (solid)
Feeder Line
connection to
adjacent feeder
(dashed)
Feeder Customer Load labels
Legend
Red – Priority 1; Blue – Priority 2; Black – Priority 3,4
S2
S1
T2
T1
040
S2
S1
T2
T1
040
S2
S1
T2
T1
054
S2
S1
T2
T1
099
S2
S1
T2
T1
118

## Slide 2
B
B
B
B
B
B
B
B
ORCA
Substation
G3
G4
Power Creek
Substation
H1
480V
12.47kV
S
S
S
EYAK Substation
Main Town
Express
Lake Ave
13 Mile
12.47kV
B
B
G5
G6
B
B
G7
G8
S
New Town
B
Aux Cannery
1500 kVA
S
S
S
4.16kV
25kV
7500kVA
7500kVA
12.47kV
480V
4.16 kV
1500 kVA
2500 kVA
Humpback
Creek Substation
S1
S2
T2
T1
190
191
593
255
013
078
060
146
354
370
389
077
644
S2
S1
T2
T1
195
S2
S1
T2
T1
193
247
180
232
458
S2
S1
T2
T1
174
038
266
271
279
S1
S2
T2
T1
189
A05
A06
A02
A03
A04
A01
A13
A14
A07
A08
A09
A10
A11
A12
M11
M10
M06
M07
M08
M09
M02
M03
M04
M05
M01
L05
L06
L07
L08
L09
L10
L11
L12
L17
L18
N01
N02
N03
N04
N05
N06
N07
N08
N09
N10
N11
N12
N13
N14
N17
N18
N19
N20
N21
N15
N16
N22
N23
N24
N25
N26
T01
T02
T03
T04
T05
T06
T09
T10
T07
T08
T11
T12
T13
T14
T15
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
Cordova One-Line Diagram (based on Rev 4/2018)
L01
L02
L03
L04
111
L12
L1-L10
Switch Number (OS111)
Normally Closed Switch (filled circle)
Normally Open Switch (open circle)
Feeder Line (solid)
Feeder Line
connection to
adjacent feeder
(dashed)
Feeder Customer Load labels
Legend
Red – Priority 1; Blue – Priority 2; Black – Priority 3,4
100
101
102
103
104
400
200
201
202
203
300
303
304
305
306
307
313
315
308
204
205
601
606
S2
S1
T2
T1
118
S2
S1
T2
T1
040
S2
S1
T2
T1
054
S2
S1
T2
T1
099
602
603
604
605
610
607
608
609
611
612
613
614
615
616
617
618
619
620
621
622
623
624
625
626
627
628
630
629
635
636
L13
L14
L15
L16
631
632
633
634
701
702
703
704
705
706
707
708
710
709
711
712
713
714
501
502
719
718
721
720
506
508
401
402
403
404
405
504
503
505
507
509
510
511
512
513
514
515
516
517
518
519
520
521
522
523
524
525
526
527
528
529
530
532
533
534
531
726
727
725
728
729
730
732
731
734
733
723
724
717
716
801
802
805
803
804
806
807
809
808
810
811
837
839
838
842
843
844
845
846
847
848
849
851
850
854
855
856
857
812
813
814
815
816
817
818
819
820
821
822
823
824
825
826
827
828
829
830
831
832
833
834
835
836
901
902
903
905
904
906
907
908
910
909
911
912
913
914
915
916
917
918
919
920
921
922
923
924
925
926
927
928
929
930
931
932
933
934
935
936
938
939
937
940
941
942
943
944
945
946
947
948
949
950
951
952
953
954
955
956
957
715
861
722
841
840
852
853
860
858
859
862
Power Creek
Substation
S
S
S
4.16kV
25kV
7500kVA
7500kVA
100
101
102
103
104

## Slide 3
Aux Cannery Loads
Main Ave Loads
Lake Ave Loads
New Town Loads
13 Mile Loads
Orca Cannery (STEVE RANNEY (2500 ORCA RD CANNERY)) | A01 205
Samson Tug & City Boat Lift (SAMSON TUG & BARGE (SEA GULL AVE 2)) | A02 509
Ferry Terminal (CITY OF CORDOVA (FERRY TERMINAL LIFT STN), (NOAA -FIELD OPERATION (FERRY DOCK BUILDING), (SHORESIDE PETROLEUM INC (100 ORCA ST), (SOA DIV MARINE TRANSP (201 ORCA RD), (SOA DIV MARINE TRANSP (CHENEGA)) | A03 511
XF302 (CITY OF CORDOVA (CATHODIC PROTECTION)) | A04 512
Copper River Seafood (COPPER RIVER SEAFOODS, INC) | A05 516
Cannery Row (COPPER RIVER SEAFOODS, INC) | A06 517
AML (Alaska Marine Lines) | A07 519
XF346 (CITY OF CORDOVA (MORPAC LIFT STATION)) | A08 520
XF215 (USCG FINANCE CENTER (NORTH FILL SYCAMORE)) | A09 521
Trident Dock (shoreside service) | A10 522
Trident Fish Meal (oil rendering plant) | A11 523
Northern Fish AK (BARBARA JENSEN (200 SEAFOOD LANE WHS), NORTHERN FISH ALASKA LLC (201 SEAFOOD LANE BUNKHOUSE)) | A12 524
Beecher Fuel (Abandoned) | A12
Screen House (Trident Fish Oil Plant off MC569) | A12
N. Trident (TRIDENT SEAFOODS CORP) | A12
Trident Fish Meal (TRIDENT SEAFOODS CORP) | A13
Open Delta Bank (reference?) | A14
XF606 (CITY OF CORDOVA (Eyak Sewer Pump Station), KRIS JOHNSON (905 LEFEVRE ST WHS)) | L01 606
City Water Tank 5th St. (CITY OF CORDOVA (610 FIFTH ST Water Tank)) | L05 616
Coast Guard (Housing) | L06 618
Coast Guard (USCG FINANCE CENTER (USGC HOUSING)) | L06
Town Houses (low cost housing) | L07 619
Burtons (trailer park) | L07
CEC Office (CORDOVA ELECTRIC COOP (705 SECOND ST)) | L08 621
Railroad & CRH (reference?) | L09 622
Little Chapel (LITTLE CHAPEL INC (905 LAKE AVE)) | L10 623
MT. Eccles (CORDOVA PUBLIC SCHOOLS (201 ADAMS AVE), USDA UTILITY INVOICES (612 SECOND ST)) | L11 624
Forestry (USFS Offices) | L12 625
Mt. Eyak Apartments (ref?) | L13 631
Mundy (ref?) | L13
Webber - Residential | L13
Ski Hill (CITY OF CORDOVA (SKI HILL COC)) | L13
Mews Apartments (CORDOVA MEWS APTS) | L13
Sunset Apts (ALASKA HOUSING FINANCE CORP, DANIEL A NICHOLS (508 FIRST ST RESTAURANT)) | L14 632
Water Tank (CITY OF CORDOVA (MEWS WATER TANK)) | L15 633
Alascom (AT&T Alascom Earth Station) | L16 634
CTC Office (ALASKAN HOTEL AND BAR, CORDOVA TELEPHONE COOP, FIRST NATIONAL BANK ALASKA) | L17 635
Davis Roof (Prince William INC (501 SECOND ST)) | L18 636
S. Trident (TRIDENT SEAFOODS CORP (545 RAILROAD AVE M/MTR)) | M01 709
Harbor Hydraulics (CITY OF CORDOVA (610 RAILROAD AVE POOL), STATE OF ALASKA ADF&G (SOA SOLSTICE METER), CITY OF CORDOVA (Montague Hoist)) | M02 711
Baja Taco (restaurant) | M02
Napa (auto/marine parts) | M02
G Float (City Harbor) | M02
I Float (City Harbor) | M02
K Float (City Harbor) | M02
Lighthouse (Native Village of Eyak - small hotel) | M02
CDV Coastal Outfitters (THAI VU (129 HARBOR LOOP RD)) | M02
AC (ALASKA COMMERCIAL COMPANY),(NATIVE VILLIAGE OF EYAK (110 NICHOLOFF WAY)) | M03 712
Plumbline & Viking (plumbing & marine supply) | M04 713
AF Wild Fish & Seafood (Alaska Wild Seafoods LLC) | M05 714
Old Harbor (CITY OF CORDOVA (BREAKWATER AVE RESTROOMS)) | M06 716
Quick Draw (mini-mall) | M07 717
CDV Outboard (CORDOVA OUTBOARD INC) | M07
ADF&G (GCI CABLE INC (908 CENTER DR COMM SHELT)) | M08 723
Reluctant (RELUCTANT FISHERMAN INN LLC (501 RAILROAD AVE, 407 RAILROAD AVE)) | M09 724
Spike Island (residence) | M10 733
PWSSC (CITY OF CORDOVA (CITY DOCK HOISTS 3 & 4), (CITY OF CORDOVA (DOCK HOIST)) | M10
PWSSC (NGO/Science Ctr) | M10
Ocean Beauty (OCEAN BEAUTY SEAFOODS LLC (313 SEAFOOD LANE)) | M11 734
Eagle Shop (contractor) | N01 806
Heney Trailer Park (resident) | N02 810
Bernards (residence) | N02
Heidbrinks (residence) | N03 811
Ballpark (City of Cordova) | N04 817
Camper Park (CITY OF CORDOVA (CITY CAMPER PARK WEST)) | N04
COC Sewer Lift Station (City) | N05 818
Parks & Rec (City) | N06 819
Kallander (residence) | N06
COC Sewer (CITY OF CORDOVA (WHITSHED RD SEWER PLANT)) | N07 820
Eccles Lagoon (residents) | N08 826
Whiskey Ridge Subd (res.) | N08
Blackler (Alpine Diesel) | N09 827
LDS 270-25 (CHURCH OF CHRIST OF LDS, CITY OF CORDOVA (1801 Whitshed RD City Shop)) | N10 828
Baler (CITY OF CORDOVA (WHITSHED RD BALER)) | N11 825
Saddle Point (residential) | N12 829
Hager (residence) | N13 835
Mallory (residence) | N13
Hahn (residence) | N13
Honkola (residence) | N13
Heney Meadows (residence) | N13
Trumblee (residence) | N13
Saw Mill Rd. (residence) | N13
Brown Saw Mill (residence) | N13
Borer (residence) | N13
Thorn (residence) | N13
Johannessen (residence) | N13
Nichols (residence) | N13
Pirtles (residence) | N13
TRL'S 1,3 (trailer park) | N13
The Point (residence) | N13
Hartney Bay Subdivision (subdivision) | N13
Heney Ridge (SOA DIVISION OF TELECOM (HENEY RIDGE SOA)) | N14 836
Hospital (CORDOVA COMM MEDICAL CENTER | N15 842
Across Road from JC39 (reference) | N16 843
Ballpark (CRH) City | N17 844
Hoovers (SHORESIDE PETROLEUM INC (635 FIRST ST)) | N18 845
High School (CORDOVA PUBLIC SCHOOLS (100 FISHERMAN AVE)) | N19 846
Radio Station (LEWIS, JR (112 Y WAY)) | N20 847
Sewer Lift (CITY OF CORDOVA (Odiak Lift STN)) | N21 848
Center Drive (small commercial and residential) | N22 862
Chamber Office (City) | N23 854
Chiropractor | N23
Post Office (UNITED STATES POST OFFICE) | N23
Cordova Center (CITY OF CORDOVA (600 WATER ST)) | N24 855
Wells Fargo/NVE (WELLS FARGO BANK -#103269) | N25 856
Frontier (ROEMHILDT HOLDINGS LLC) | N26 857
Eyak Svc Center (CORDOVA ELECTRIC COOP (1200 LAKESHORE DRIVE)) | T01 910
Powder House (POWDER HOUSE (1418 CRH 2 MI)) | T02 912
Elmer Point Subdivision - Residential | T02
Forest Heights Subdivision - Residential | T02
Eccles Estates - Residential | T02
Kennedy - Residential | T02
Sudano - Residential | T02
Cunningham - Residential | T02
COC H20 Plant (CITY OF CORDOVA (CRH PLANT)) | T03 913
Webber Marine (William F Webber JR (6 .0 CRH 11A WHS)) | T04 914
Alpine Falls - Phase 1 (res) | T05 918
Alpine Falls - Phase 4 (CITY OF CORDOVA (Alpine Falls 3 Phase)) | T06 920
6 Mile (residential sub) | T07 926
XF470 (Lenny Peterson (6 .5 CRH 4 BUS), LYLE KRITCHEN (6.5 CRH 3 WHS 1), TYEE G LOHSE (6.5 CRH 3 WHS 2)) | T08 927
Eyak Acres (residential sub) | T09 928
4.5 Mile (residential sub) | T09
Collins (residence) | T09
Fire Station (CITY OF CORDOVA (4 .7 CRH FIRE SUB)) | T10 929
6.5 Mile Subdivision | T11 933
CTC & GCI (CORDOVA TELEPHONE COOP (6 .5 CRH METAL CAB)) | T12 935
CVTC (COPPER VALLEY WIRELESS INC (6 .5 CRH 6 CVW)) | T13 936
FAA Light 1-5 | T14 938
FAA Runway W (SOA DOT (LOCALIZER DME SITE)) | T15 939
State DOT Shop (SOA DOT (13 .0 CRH HEATERS) AND SOA DOT (13 .0 CRH SOA SHOP)) | T16 945
FAA NDB | T17 946
USCG Private Housing | T18 947
XF414 (USCG FINANCE CENTER (13 .0 CRH USCG HANGAR)) | T19 948
13 Mile FAA Flight CTR (FAA ACCOUNTING OFFICE (13 .0 CRH FLIGHT SVC), (WOOD SHOP)) | T20 949
Hangers | T21 950
FAA Hanger | T22 951
SREB/ARFF (SOA DOT BLDG MAINTENANCE (13 .0 CRH SOA GEN)) | T23 952
Alaska Airlines Hanger (ALASKA AIRLINES INC) | T24 953
Cell Tower (GOGO LLC (13 .0 CRH & CABIN LK RD 1)) | T25 954
Runway East | T26 955
Runway East (FAA AC ACCOUNTING OFFICE (13 .0 CRH E END AIRPT)) | T27 956
ASOS Site (NATIONAL WAETHER SERVICE (13 .0 CRH ASOS SITE)) | T28 957
Red – Priority 1; Blue – Priority 2; Black – Priority 3,4